| Item | Specification |
| --- | --- |
| Clear-span width | 4m |
| Eave Height | 2.47m |
| Ridge Hight | 4.28m |
| Bay Distance | 4m |
| Wind Loading | ≤120km/h |
| Minimum Tent Length | 4m |
| Roof Fixing | bar tensioning |
| Framework Profile | 48mm*105mm*3.5mm |
| Eave Connection | Hot dip Galvanized aluminium cube tube |
| Cover Material | PVC Knife coated nylon fabric; 750g/m2 |

内部图

Pagoda Tent Technical Data

Type：4m*4m

Optional Accessories

PVC window sidewalls Anchoring Rain Gutter Lining and curtain Glass door units Hard walling system Glass walling system Transparent PVC cover and sidewall Flooring system Weight plate

Framework main profile dimension and use