HUNAN KONTAK TECHNOLOGY CO., LTD

Add:No. 59, Second Section, Furong Middle Road, Furong, Changsha City, Hunan Province, China

Tel:+86 731 85860892

E-mail:kontak@kontak-cn.com         Website:www.kontakledlight.com

Model: KTSL6303B (70-250W STREET LIGHTING)

| PICTURE | DESCRIPTION |
| --- | --- |
|  | Model: KTSL6303B |
|  | 70W---250W HPS/MH |
|  | Product size: 670x330x265MM |
|  | Packing size: 680x340x275MM |
|  | Die casting aluminum weight: 2.2KG |
|  | Net Weight: 5.3KG |
|  | Gross weight: 6.3KG |
|  | Lamp holder: E27/E40 |
|  | Rated voltage and frequency: 230V±10/50-60HZ |
|  | Reflector thickness: 0.6MM |
|  | Glass thickness: 5MM |
|  | Installation diameter: 60MM |
|  | For height: 5M-9M |
|  | Corrosion silicone rubber seals |
|  | IP65 |
|  | Loading quantity: 720PCS/20 feet container; 1500PCS/40HQ |
|  | 1. Body: Die-cast aluminum body with high strength,compact structure and smooth profile. |
|  | 2. Reflector: High purity anodized aluminum. |
|  | 3. Cover: High transparent tough Glass in 5mm thickness |
|  | 4. Stainless steel screws and clips. Steel gear plate. |
|  | 5. Top-lift cover, easy repair and maintenance. Easy access to lamp and gear. |
|  | 6. Vertical and horizontal installation |
|  | 7. Application places: applicable to the illumination of different levels of roads. |
|  | Remark: offering the bigger size (400W) also, pls kindly check the item KTSL6303A |