RDPDD-104H Partial Discharge Tester

RDPDD-104H Partial Discharge Tester is a new generation digital analyzer with high performance and new technique. This product is a desktop with advantages of multi-interface, TFT LCD display, reliable system, low fault rate. There is an expert analysis system in the product to judge different discharge types correctly, it also can be used to monitor the high voltage electrical equipment such as high voltage transformers continuously online.

This partial discharge analyzer is the dedicated product to measure and analyze the insulation ability of electrical equipment. This system adopts modern electronic and computer integrated technology with the functions of signal amplification (analog signal, electronic signal, digital signal), filtration, data sampling, data processing, figure display, test report generation automatically so that it may finish the measurement and analysis of the partial discharge. The Partial Discharge Tester applicable scope, test method, test circuit, technical performance parameters fully meet the international standard IEC 60270 Partial Discharge Measurements.

- Product features

- Multi signal channel, desktop, TFT LCD display, reliable system, low failure rate and strong anti-interference ability.

- It integrates the functions of partial discharge measurement, diagnosis and online monitoring.

- Automatically generate the test report according to the test process, and browse and print the report.

- The redisplay sampling function can restore the saved data file into a waveform and display it on the screen.

- 4-channel electrical signal and 4-channel optical signal input port can simultaneously measure and analyze multiple partial discharge signals.

- Product specifications and technical parameters

| Technical characteristics |  |
| --- | --- |
| Number of interfaces | Free-running 4 interfaces |
| Sampling rate | 1M. 5M. 10M selected |
| Sampling accuracy | 12bit |
| Range changing | -40dB, -20dB, 0dB, 20dB, 40dB, 60dB, totally 6 types |
| Measurement frequency range | 3dB bandwidth 10kHz～1MHz |
| Digital filtering | 10kHz ~ 1MHz freely selected |
| Program controlled filter subsection | Low frequency: 10kHz, 20kHz, 40kHz, 80kHz High frequency: 100kHz, 200kHz, 300kHz, 400kHz |
| Nonlinear error in the range | 10% |
| Measurement range | 0.1pC ~ 100,000pC |
| Sensibility | 0.1pC |
| Capacitance range of the measured product | 6pF ~ 250µF |
| Frequency range of test power | 50 ~ 500Hz |
| Display |  |
| Display screen | 12” TFT true color touchable LCD screen |
| Resolution | 1024×768 |
| Interface |  |
| USB | 3 types, use of external mouse, keyboard or other USB devices. |
| Power supply | AC 230V; Frequency 50Hz; Power 300W |
| Electric signal interface | 4 BNC interfaces, use of signal input. |
| Optical signal interface | 4 types, use of signal input |
| Network interface | 1 type |
| Landing button | External landing |
| General instruction |  |
| CPU | Basic frequency 1.60GHz |
| Ram | 2.0GB |
| Hard disk | 128GB SSD |
| System | Windows Xp |
| Operating environment | Environment ambient: -10 ~ 45℃ ; Humidity: ≤95%RH |
| Dimensions | Length×width×height: 474mm × 288mm × 370mm |
| Weight | 15.8kg |