User Manual for DY02692E

1、Parts list and image

| Part | Backrest and Armrest | Side frame | C clip | Legrest |
| --- | --- | --- | --- | --- |
| Image |  |  |  |  |
| Part | Screw and washer | Plastic washer | Connecting Pipe | Seat and Pot |
| Image |  |  |  |  |

2、Assembly

| 1、Open the package and take out all parts from the plastic bag, as shown in the above parts (c clip already mounted on the side frame). |
| --- |
| 2、Take out the screw and washers from the connecting pipe (as shown in the picture) |  |
| 3、Putting one side frame with the connecting pipe. In between the connecting pipe and the side frame put the plastic washer, with the concave face mounted to the side frame (as shown in picture) |  |
| 4、With same way put the other side frames and connecting pipe together. (as shown in the picture) |  |
| 5、Put the commode seat and pot on the frame (as shown in the picture) |  |
| 6、Insert backrest into seat frame. Align the holes (as picture shown). |  |
| 7、Put C clip into the holes (as picture shown) |  |
| 8、Install armrest (as picture shown) |  |
| 9、Install legrest(as picture shown). With same way, install the legrest of the other side. |  |
| 10、Complete assembly(as picture shown) |  |
| Remark: tools set in the plastic bag on the pocket |  |