Strong cooling furnaces

Blast freezer is a professional frozen machine for all kinds of food that need to be frozen fast.
it is made of stainless steel, beautiful and durable, easy to clean, 
the insulation layer is made of high density polyurethane. Microcomputer control, simply setting , fast and uniform cooling, Double compressor refrigeration which is of world famous brand, high-performance evaporator, condenser.
The refrigeration mode is air cooling, no frost, uniform refrigeration, fast refrigeration effect, and the limit temperature is -80℃
With universal wheel easy to move,
It is mainly used for fast and cold freezing of food, mousse, cake and frozen dumplings, glutinous rice balls, steamed buns, etc. Ensure that the not losing nutrition, keep the fresh taste and good quick plastic effect.

Technical Parameters

| Model | SD5 | SD7 | SD10 | SD15 | SD20 | SD30 | SD40 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Min temperature | - 60℃ - 80℃ | - 60℃ - 80℃ | - 60℃ - 80℃ | - 60℃ - 80℃ | - 60℃ - 80℃ | - 60℃ - 80℃ | - 60℃ - 80℃ |
| Capacity | 5 trays | 7 trays | 10 trays | 15 trays | 20 trays | 30 trays | 40 trays |
| Exterior(mm) | 850*930*1400 | 850*930*1430 | 850*930*1800 | 850*950*1820 | 1040*940*2200 | 1900*940*2150 | 1900*940*2200 |
| Cooling system | Air Cooling | Air Cooling | Air Cooling | Air Cooling | Air Cooling | Air Cooling | Air Cooling |
| Compressor | FRENCH |  |  |  |  |  |  |
| voltage | 380V / 60Hz | 380V / 60Hz | 380V / 60Hz | 380V / 60Hz | 380V / 60Hz | 380V / 60Hz | 380V / 60Hz |
| power | 2kw / 4kw | 2kw / 4kw | 2kw / 4kw | 2.9kw / 4kw | 3kw / 5kw | 5Kw / 8kw | 6kw /12kw |
| PU foam thickness | 100mm | 100mm | 100mm | 100mm | 100mm | 100mm | 100mm |