Instruction for Use

Foam cervical collar

# Common Examples of Use

Mild cervical strains

Nech Sprains

Post-operative rehabilitation

# WARNING:

This product should be given by an treating doctor and applied by a professional. Application should be done with great care to ensure correct fit and efficiency of the brace. For hygiene reasons, it is proposed to be used by a single patient. Recommended product use up to 2 years.

WASHING INSTRUCTIONS:

Check the condition of the product before use. If it is worn off, it needs replacement.

Hand wash with cold water. Use a soft detergent and remove the pads.

Allow to dry on its own. Do not wash it in a washing machine or dry it in a tumble dryer.