Instruction for Use

# Common Examples of Use

# Used to assist in the treatment of shoulder joint injuries, postoperative recovery, shoulder arthritis or rotator cuff strains, etc

# WARNING:

This product should be given by an treating doctor and applied by a professional. Application should be done with great care to ensure correct fit and efficiency of the brace. For hygiene reasons, it is proposed to be used by a single patient. Recommended product use up to 2 years.

WASHING INSTRUCTIONS:

- Check the condition of the product before use. If it is worn off, it needs replacement.

- Hand wash with cold water. Use a soft detergent and remove the pads.

- Allow to dry on its own. Do not wash it in a washing machine or dry it in a tumble dryer.